## Slide 1
Autonomous robotic manipulator for AMR sampling (Petri Dish)
ELD411
Arnav Panjla 2023EE10978
Manashvi Garg 2023EE11104
Mid-Term Review — 2026

## Slide 2
PROBLEM STATEMENT
The Challenge: Scaling AMR Surveillance
02
01
VILLAGES
Distributed sampling
02
COLLECTION
Repeated visits
03
LAB
Central processing
04
DISHES
Handling + imaging
05
BOTTLENECK
Manual repetition
Repeated sampling creates high laboratory load.
Dish transport, imaging and logging are repetitive.
Manual handling limits throughput and traceability.
OBJECTIVE
Automate Petri-dish
handling + imaging
IIT Delhi · ELD411 · Mid-Term Review 2026
  Antimicrobial resistance (AMR) requires continuous surveillance.
  Rural/village-level sampling can generate many biological samples.
  Samples need to be collected, transported, incubated/processed and analyzed.
  Manual Petri-dish handling becomes a bottleneck as sample volume increases.

## Slide 3
MARKET AND SCALE ANALYSIS
From Village Sampling to Laboratory Load
03
~3000
people / village
2–3%
sampling fraction*
(people that get sick and actually need testing)
60–90
samples / village
4–5
field collectors
5–6
villages / collector / day
DESIGN TARGET
~1200
PETRI DISHES / DAY
Planning value for workflow, storage and robot duty cycle
ASSUMPTION
IIT Delhi · ELD411 · Mid-Term Review 2026

## Slide 4
Iteration - I (3d printer style )
05
01
INPUT
Petri-dish queue
02
VISION
Pi + imaging camera
03
CONTROL
Manipulator + feedback
04
OUTPUT
Imaging / storage
IIT Delhi · ELD411 · Mid-Term Review 2026

## Slide 5
Iteration - II (scara bot)
05
01
INPUT
Petri-dish queue
02
VISION
Pi + imaging camera
03
CONTROL
Manipulator + feedback
04
OUTPUT
Imaging / storage
IIT Delhi · ELD411 · Mid-Term Review 2026

## Slide 6
FULL-PROJECT LAYOUT
Final design
06
IIT Delhi · ELD411 · Mid-Term Review 2026

## Slide 7
MANIPULATOR HARDWARE
Selected 6-DOF Robotic Arm
07
IIT Delhi · ELD411 · Mid-Term Review 2026

## Slide 8
MECHANICAL ADAPTATION
Manipulator Modifications for Petri-Dish Reach
08
01
LONGER LINKS
Extend selected joints for carousel reach
02
CAMERA MOUNT
Rigid mount above gripper
03
CABLE ROUTING
Protect CSI / power through motion
IIT Delhi · ELD411 · Mid-Term Review 2026
Notes: new arm drawong wil all dimnesion